MariTech Systems, Inc.

20911 Johnson St Suite 132

Pembroke Pines, FL 33029

Fla Lic. # EF20000581

Record of completion

Name of Protected Property:______________________________________

Address: _______________________________________________________

Rep. Of Protected Prop.(Name/Phone):______________________________

Authority Having Jurisdiction:_____________________________________

Address/Phone Number:___________________________________________

- Type(s) of System or Service

NFPA 72, Chapter 3 – Local

If alarm is transmitted to location(s) off Premises, list where received:

NFPA 72, Chapter 3 – Emergency Voice/Alarm Service

Quantity of voice/alarm channels:       Single:       Multiple:

Quantity of speakers installed:       Quantity of speaker zones:

Quantity of telephone jacks included in system:

NFPA 72, Chapter 4 – Auxiliary

Indicate type connection:

Local Energy:       Shunt:       Parallel telephone:

Location and telephone number for receipt of signals:

NFPA 72, Chapter 4 – Remote Station

Alarm:

Supervisory:

NFPA 72, Chapter 4 – Proprietary

If alarms are retransmitted to public fire service communications center or others, indicate

Location and telephone number of the organization receiving alarm:

Indicate how alarm is retransmitted:

NFPA 72, Chapter 4 – Central Station

The Prime Contractor:

Central Station Location:

Means of transmission of signals from the protected premises to the central station:

McCulloh		 Multiplex		 One-way Radio

Digital Alarm Communicator		 Two-way Radio	 Others:

Means of transmission of alarms to the public fire service communications center:

(a)

(b)

System Location:

Organization Name/Phone		Representative Name/Phone

Installer : MariTech Systems, Inc.		Steven E Zucker…954-447-1200

Supplier: MariTech Systems, Inc.		Steven E Zucker…954-447-1200

Service Organization: ________________________________

Location of Record (As-Built) Drawings: ___________________________________

Location of Owners Manuals: ____________________________________________

Location of Test Reports: ________________________________________________

A contract, dated ______________________, for test and inspection in accordance with NFPA standard(s)  No(s)

Dated 2003, is in effect.

MariTech Systems, Inc.

- Record of System Installation

(Fill out after installation is complete and wiring checked for opens, shorts, ground faults, and improper branching, but prior to conducting operational acceptance tests.)

This system has been installed in accordance with the NFPA standards as shown below, was inspected by ___________________________ on______________, includes the devices shown below, and has been in service

Since____________________.

NFPA 72, Chapter 1 3 4 5 6 7

NFPA 70, National Electrical Code, Article 760

Manufacturer’s Instructions

Other (specify):

Signed:____________________________________			Date:________________

Organization: ______________________________

- Record of System Operation

All operational features and functions of this system were tested by _____________________ on          _________________

Found to be operating properly in accordance with the requirements of:

NFPA 72, Chapter 1 3 4 5 6 7

NFPA 70, National Electrical Code, Article 760

Manufacturer’s Instructions

Other (specify): Job Specifications

Signed:                                                                  			Date:                         .

Organization:                                                       .

- Alarm- Initiating Devices and Circuits ( use blanks to indicate quantity of devices)

MANUAL

(a)            Manual Stations            Noncoded, Activating         Transmitters          Coded

(b)       Combination Manual Fire Alarm and Guard’s Tour Coded Stations

AUTOMATIC

Coverage:	 Complete	 Partial

(a)    _     Smoke Detectors	           Ion	           Photo

(b)            Duct Detectors		      Ion	           Photo

(c)             Heat Detectors		      FT	     RR	         FT/RR          RC

(d)           Sprinkler Waterflow Switches:     Transmitters       Noncoded, Activating

(e)            Other (list):

- Supervisory Signal-Initiating Devices and Circuits (use blanks to indicate quantity of devices)

GUARD’S TOUR

(a)       Coded Stations

(b)       Noncoded Stations, Activating     Transmitters

(c)       Compulsory Guard Tour System Comprised of      Transmitter Stations and

Intermediate Stations

NOTE: Combination devices recorded under 4(b) and 5(a)

SPRINKLER SYSTEM

(a)          Coded Valve Supervisory Signaling Attachments

Valve Supervisory Switches, Activating       Transmitters

(b)       Building Temperature Points

(c)      Site Water Temperature Points

(d)      Site Water Supply Level Points

Electric Fire Pump:

(e)            Fire Pump Power

(f)             Fire Pump Running

(g)       Phase Reversal

Engine- Driven Fire Pump:

(h)       Selector in Auto Position

(i)        Engine or Control Panel Trouble

(j)       Fire Pump Running

Engine- Driven Generator:

(k)       Selector in Auto Position

(l)         Control Panel Trouble

(m)       Transfer Switches

(n)       Engine Running

Other Supervisory Function(s) (specify):

- Alarm Notification Appliances and Circuits

Quantity of indicating appliance circuits connected to the system:

Types and quantities of alarm indicating appliances installed:

(a)       Bells		     Inch

(b)       Speakers

(c)       Horns

(d)       Chimes

(e)       Other:

(f)      _   Visual Signals	Type: _______	  _        with audible               w/o audible

(g)       Local Annunciator

- Signaling Line Circuits

Quantity and Style (see NFPA 72,  Table 3-6) of signaling line circuits connected to system:

Quantity:   _    		Style:   _  .

- System Power Supplies

- Primary (main): Nominal Voltage:  _________  Current Rating:   ______  .

Overcurrent Protection: Type:   ____________  Current Rating:  __________  .

Location:                                     __________________                                            .

- Secondary (Standby):

Storage Battery; Amp- Hour Rating

Calculated capacity to drive system, in hours:  24 	 60

Engine-driven generator dedicated to fire alarm system:

Location of fuel storage:

- Emergency or Standby System used as Backup to Primary Power Supply, instead of using a Secondary Power Supply:

Emergency System described in NFPA 70, Article 700

Legally Required Standby System described in NFPA 70, Article 701

Optional Standby System described in NFPA 70, Article 702, Which also

meets the performance requirements of Article 700 or 701

MariTech Systems, Inc.

- System Software

- Operating System Software Revision Level(s): ______________________

- Application Software Revision Level(s): ___________________________

- Revision Completed by: ________________________________________.

- Comments:

(signed) of Central Station or Alarm service Company	(title)		(date)

Frequency of routine tests and inspections, if other than in accordance with the referenced NFPA standards(s):

System Deviations from the referenced NFPA standard(s) are:

(signed) of Central Station or Alarm service Company	(title)		(date)

Upon completion of the system(s) satisfactory tests witnessed( if required by the authority having jurisdiction)

(signed) of Central Station or Alarm service Company	(title)		(date)

(signed) Representative for the Authority Having Jurisdiction	(title)		(data)